## Slide 1: 嵌入式系統 Final Project
主題: | 基於呼吸面罩的簡易呼吸器
組別: | Group 1

## Slide 2: Outline
PART 1 | Introduction
PART 2 | Thinking Process
PART 3 | Design & Methodology
PART 4 | Demo Video
PART 5 | Future Improvement

## Slide 3: PART 1 - Introduction

## Slide 4: Introduction
A ventilator is used when a patient is unable to breathe on their own or when they’re able to breath but cannot achieve the required level of oxygen concentration in the body.
Controlled the respiratory parameters such as respiratory rate and tidal volume through a microcomputer-based system that incorporates monitoring systems, alarm systems and respiratory self-assessment functions.
Principle of gas delivery:
Positive Pressure Ventilation
Negative Pressure Ventilation
High-Frequency Ventilation
What can it do？

## Slide 5: PART 2 – Thinking Process

## Slide 6
Air Flow
How to generate
Control flow speed
Control breath frequency
Depend on physiological signal
Mask
How to connect with pump
3D printing
Arduino
Control system
Monitor physiological signal
GUI
First Discussion

## Slide 7
Air Flow
How to generate
Control flow speed
Control breath frequency
Depend on physiological signal
Mask
How to connect with pump
3D printing
Arduino
Control system
Monitor physiological signal
GUI
Final Version

## Slide 8: PART 3 – Design & Methodology

## Slide 9
Block Diagram

## Slide 10
Devices
Device | number
Arduino Uno | 1
AD2512UB | 1
Easy Breath Mask | 1
L298N | 1
TPTV | 1
Soft tube | several
Power transformer | 1

## Slide 11
Mask Design
Influx of air
gushing air
Sealed
Purpose: To direct the airflow inside the mask towards the desired direction as shown in the diagram.
Adjusting the direction of the one-way valve inside the mask.
Closing certain exhaust ports.

## Slide 12
GUI & Control System
Core
L298N
Digital
Signal
PWM
Signal
TPTV
AD2512UB

## Slide 13: PART 4 – Demo Video

## Slide 14
Frequency
NORMAL
HIGH
LOW

## Slide 15
Speed
NORMAL
HIGH
LOW

## Slide 16: PART 5 – Future Improvement

## Slide 17
Improvement
Flow pressure is not enough for a ventilator
When L298N work on 2 channels, its voltage would drop 1.4V
Can improve the deliver of air flow

## Slide 18: Thank you for your attention !

## Slide 19: Reference
https://www.instructables.com/Gripper-Made-of-Soft-Muscles-With-Arduino-Code/
https://robu.in/wp-content/uploads/2017/12/L298N-Module-Pinouts-ROBU.IN_.pdf
http://cht.a-hospital.com/w/%E7%AE%80%E6%98%93%E5%91%BC%E5%90%B8%E6%9C%BA
https://landing.coolermaster.com/faq/3-pin-and-4-pin-fan-wire-diagrams/